## Slide 1
We have added CW or DX 02 rows coil selection option.
As per you comment we have updated VFC Model Enclosure height, refer above Image & confirm.
ETI-VF(C,E & S)-Fan Coil Unit

## Slide 2
We have Updated Coil dimensions as per the submittal.
for 3 Rows CW & 1 Row HW Combination A & E connections are overlapping so, we assumed “A” Dimension as 6.87 inch instead of 7.87 inch, Refer above Image & confirm.
Submittal Image
Overlapping Connections
Considered 6.87 A dim
ETI-VF(C,E & S)-Fan Coil Unit